- F.V Machine Vision Industrial cameras

| Minimal Technical Specification: |  |
| --- | --- |
| Characteristic: | 3.2 MPx Colour; 1/2.8"" 2.5micrometer; Rolling shutter with global reset; 60 FPS at 2080x1552 |
| Warranty period: |  |
| Warranty period: | - onths |

- F.V Lenses for Machine Vision Industrial cameras

| Minimal Technical Specification: |  |
| --- | --- |
| Characteristic: | Sensor Format 1:2.3 50mm 2/3""; C-mount; CS mount using adapter |
| Warranty period: |  |
| Warranty period: | 12 months |