- F.V HDMI Projector

| Minimal Technical Specification: |  |
| --- | --- |
| Characteristic: | Bright XGA projector – 4300 ANSI Lumens Installation flexibility – Vertical lens shift and 1.36x zoom Ultimate Control - Full support for Crestron, Extron, AMX, PJ-Link and Telnet LAN commands Easy connectivity - HDMI, MHL, VGA, 10W speaker |
| Power Supply: | 220V AC,50Hz |
| Warranty period: |  |
| Warranty period: | 12 months |